| DP Number: |  |
| --- | --- |

| Dairy Facility Name: |  |
| --- | --- |

GWQB – Date of Receipt (Department use only)

Introduction

Type of Application (check one)

|  | Renewal only |
| --- | --- |
|  | Modification only “modification” includes a change in the location of a discharge, an increase in the quantity of the discharge, or a change in the quality of the discharge. |
|  | Renewal and Modification |

If this application is to modify or renew and modify a Discharge Permit, what is the reason for modification of the Discharge Permit?  (check all that apply)

|  | The maximum daily discharge volume authorized by the Discharge Permit for this facility has been exceeded by more than ten percent for four average daily discharge volumes within any 12-week period (Subsection D of 20.6.6.27 NMAC). |
| --- | --- |
|  | There is a proposed change to the method(s) (i.e., mechanical versus grazing) of crop removal on a field(s) within the land application area from what is currently authorized by the Discharge Permit (Subsection K of 20.6.6.21 NMAC). |
|  | Other – describe the proposed changes that would result in modification, meaning a change in the location of a discharge, an increase in the quantity of the discharge, or a change in the quality of the discharge. |

Application Checklist

The following checklist has been provided to assist in ensuring that the application is complete prior to submission (check all that apply):

|  | Part I. Administrative Completeness A. General Information. B. Public Notice Information. C. Public Notice Preparation. |
| --- | --- |
|  | Part II. Technical Completeness A. Discharge Volume and Description. B. Identification and Physical Description of Dairy Facility. C. Flow Metering. D. Ground Water Monitoring. E. Engineering and Surveying. F. Land Application Area. |
|  | Part III. Site-Specific Proposals |
|  | Part IV. Attached Maps and Logs A. Surface Soil Survey and Vadose Zone Geology. B. Location Map. C. Flood Zone Map. |

Fees Included with Application  [20.6.6.9 NMAC]

An applicant applying for Discharge Permit renewal or renewal and modification shall remit with the application a filing fee and one-half of the applicable permit fee (see Table 1 of Section 20.6.2.3114 NMAC).  An applicant applying for Discharge Permit modification only shall remit with the application a filing fee and the entire permit modification fee (which is one-half of the permit fee).  Make checks payable to:  NMED-Ground Water Quality Bureau

The following fees have been included with the application:

|  | $100 application filing fee |
| --- | --- |
|  | One-half of the applicable permit fee from Table 1 of Section 20.6.2.3114 NMAC (the relevant portions of the table are listed below.) 20.6.2.3114 NMAC, Table 1 (gpd=gallons per day); Full Permit Fee; Half Permit Fee (submit with application). Agriculture <10,000 gpd; $ 1,150; $ 575. Agriculture 10,000 to 49,999 gpd; $ 2,300; $ 1,150. Agriculture 50,000 to 99,999 gpd; $ 3,450; $ 1,725. Agriculture 100,000 gpd or greater; $ 4,600; $ 2,300. |

Copies of Application  [20.6.6.10 NMAC]

An applicant applying for a Discharge Permit shall submit an original hard copy (paper) along with an electronic copy of the signed and notarized application, including all supporting documentation, to the address listed below.

|  | Original paper format – signed and notarized, including all supporting documentation |
| --- | --- |
|  | Electronic copy in portable document format (PDF) of the original signed and notarized application and all supporting documentation, provided on the following media (choose one): Compact disc (CD); DVD. |
|  | Send application and fees to the following address: Program Manager Ground Water Agriculture Compliance Section New Mexico Environment Department 1190 St. Francis Drive P.O. Box 5469 Santa Fe, NM 87502- 5469 |

Disclaimers

- Timely processing of this application is contingent upon the technical completeness of the submission.  Failure to provide all of the information pursuant to Section 20.6.6.10 NMAC, following notice of technical deficiency, may result in denial of the application.

- Pursuant to Section 20.6.6.33 NMAC, the permittee is required to retain records, including a copy of this signed and notarized application.

Applicant’s Signature

I, the applicant, attest under penalty of law to the truth of the information and supporting documentation contained in this application for a Ground Water Discharge Permit.

| Signature: |  |  | Date: |  |
| --- | --- | --- | --- | --- |
| Printed Name: |  |  | Title: |  |

Notary Certification State of New Mexico County of _____________________ Signed before me on __________________________ by ___________________________________. __________________________________________ Signature of Notary My Commission expires:______________________ Seal

Part I.  Administrative Completeness

A.  General Information

1.  Dairy Facility Information  [Subsection D of 20.6.6.12 NMAC]

| Facility Name |  |
| --- | --- |
| Discharge Permit # |  |
| Physical Address |  |
| County |  |

Note: If a physical address does not exist for this location, provide a description of the location in relation to surrounding landmarks, road intersection, mile marker, etc.

2.  Contact Information  [Subsection B of 20.6.6.12 NMAC]

a)  Applicant’s Information

| Name |  |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |  |
| Affiliation with facility |  |  |  |  |  |  |  |  |  |  |  |  |

b)  Facility Operator/Manager’s Information

| Name |  |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |  |
| Affiliation with facility |  |  |  |  |  |  |  |  |  |  |  |  |

c)  Application Preparer’s Information

| Name |  |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |  |
| Affiliation with facility |  |  |  |  |  |  |  |  |  |  |  |  |
| Preparer’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |

d)  Consultant’s Information

| Company Name (1) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Contact |  |  |  |  |  |  |  |  |  |  |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |

| Company Name (2) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Contact |  |  |  |  |  |  |  |  |  |  |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |

3.  Ownership and Real Property Agreements  [Subsection C of 20.6.6.12 NMAC]

a)  Facility Ownership Information

Provide facility ownership information pursuant to Subsection C of 20.6.6.12 NMAC.

- If more than one person has ownership interest, or a partnership exists, list all persons with an ownership interest.

- If a corporate entity holds an ownership interest, provide the name of the corporate entity and the entity’s registered agent as filed with the New Mexico Public Regulation Commission.

| Name |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |

| Name |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |

| Name |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |

| Name |  |  |  |  |  |  |  | Title |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mailing Address |  |  |  |  |  |  |  |  |  |  |  |
|  | City |  |  |  | State |  |  |  |  | Zip |  |
| Phone Number(s) - |  |  | Office |  |  |  | Fax |  |  |  |  |
|  |  |  | Cell |  |  |  |  |  |  |  |  |

Note:  Once completing this section, if additional space is needed, use Supplemental Form 1.

|  | Attached – Supplemental Form 1 |
| --- | --- |

b)  Real Property Agreement(s)

Indicate which portion(s) of the dairy facility are owned and/or leased by the applicant:

| Dairy production area: |  |  | Own |  | Lease* |
| --- | --- | --- | --- | --- | --- |
| Land application fields: |  |  | Own |  | Lease* |
|  | Provide Field ID for owned and/or leased fields: |  |  |  |  |

* Note:  For any portion of the dairy facility where the applicant is not the owner of record, the applicant shall submit a copy of any lease agreement or other agreement which authorizes the use of the real property for the duration of the term of the requested permit (typically five years).  Lease prices or other prices may be redacted.

|  | Attached – lease (or other authorized use) agreement |
| --- | --- |

B.  Public Notice Information

1.  Proposed Maximum Daily Discharge Volume:        gallons per day

Note: Use the information from Part II.A.2 following its completion.

2.  Depth-to-Most-Shallow Ground Water:        feet

Note: Use the information from Part II.D.1 following its completion.

3.  Dairy Facility Location  [Paragraph (3) of Subsection D of 20.6.6.12 NMAC]

In the table below, describe the location for the entire dairy facility by listing the Township, Range and Section for the entire production area (may be multiple Sections), for each impoundment and for each field within the land application area.

| Type of Source | Source ID | Township | Range | Section(s) |
| --- | --- | --- | --- | --- |

4.  Pre-Discharge Total Dissolved Solids Concentration in Ground Water

[Subsection F of 20.6.6.12 NMAC]

Provide the concentration of total dissolved solids (TDS) in ground water prior to discharging from the dairy facility.  Note: This information is likely the same as that submitted in the first application for a Discharge Permit for this dairy facility.

- Pre-discharge TDS concentration in ground water:        mg/L (ppm)

|  | Attached – Copy of laboratory analysis report (if available) |
| --- | --- |

- From what source was the sample collected (e.g., upgradient monitoring well, on-site supply well, nearest well within a one-mile radius of the dairy facility)?

C.  Public Notice Preparation [Subsection E of 20.6.6.12 NMAC]

The information requested below will be used by NMED to prepare the public notice packet that will be mailed to you (or a recipient of your choice) once NMED has determined that your application is administratively complete.  The packet will contain instructions and the materials necessary for you to complete the public notice requirements of Section 20.6.2.3108 NMAC.  Note: There are additional public notice requirements that will be identified in your public notice packet.

1.  Public Notice Posting Locations

Select the type of application you are submitting and provide the requested information.

|  | Renewal Application |  |  |
| --- | --- | --- | --- |
|  | - Following notice from NMED, the applicant is required to provide public notice of this application by placing a display ad (classified or legal sections are not acceptable) in a newspaper of general circulation in the location of the proposed discharge. Indicate the newspaper in which you intend to place the ad. [Subsection C of 20.6.2.3108 NMAC] |  |  |
|  |  | Newspaper: |  |

|  | Modification or Renewal/Modification Application |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | - Following notice from NMED, the applicant is required to provide public notice of this application by placing a display ad (classified or legal sections are not acceptable) in a newspaper of general circulation in the location of the proposed discharge. Indicate the newspaper in which you intend to place the ad. [Paragraph (4) of Subsection B of 20.6.2.3108 NMAC] |  |  |  |  |
|  |  |  | Newspaper: |  |  |
|  | - Following notice from NMED, the applicant is required to post a sign(s) for 30 days in a location conspicuous to the public at or near the facility. The applicant’s public notice packet from NMED will provide the sign(s) (2 feet x 3 feet in size). One sign must be posted for each 640 contiguous acres or less. NMED may require additional postings for facilities of more than 640 acres or when the discharge site(s) is not located on contiguous properties. Indicate the location(s) where you intend to display the sign(s). [Paragraph (1) of Subsection B of 20.6.2.3108 NMAC] Note: Conspicuous location means a location where the sign is visible and legible to the public and the public has access (e.g., at facility entrance on public road). - Does the entire dairy facility (production area and land application area) encompass more than 640 contiguous acres? No - If no, see next question below.. Yes – If yes, provide sign locations below.. |
|  | Sign Locations: |  |  |  |  |
|  | - If the entire dairy facility is encompassed within less than 640 acres, is the acreage contiguous? Yes - If yes, indicate a sign location below.; Yes. No - If no, indicate sign locations below.; No – If no, provide additional sign locations. |
|  | Sign Location(s): |  |  |  |  |
|  | - Following notice from NMED, the applicant is required to post an additional notice (flyer) for 30 days at an off-site location conspicuous to the public (e.g., public library). Indicate the location where you intend to display the flyer. [Paragraph (1) of Subsection B of 20.6.2.3108 NMAC] Note: The U.S. Postal Service no longer allows the posting of flyers in post offices. |  |  |  |  |
|  |  | Flyer Location: |  |  |  |

2.  Mailing Instructions

a)  The public notice packet including instructions and materials should be sent to (choose one) -

| Applicant | Consultant |  | Other |  |  |
| --- | --- | --- | --- | --- | --- |
| Provide - | Name: |  |  |  |  |
|  | Address: |  |  |  |  |

b)  Copies of the public notice packet (excluding sign) should be sent to (choose one) -

| Applicant | Consultant |  | Other |  |  |
| --- | --- | --- | --- | --- | --- |
| Provide - | Name: |  |  |  |  |
|  | Address: |  |  |  |  |

Part II.  Technical Completeness

A.  Discharge Volume and Description

1.  Date of Initial Discharge at the Dairy Facility

[Paragraph (4) of Subsection D of 20.6.6.12 NMAC]

Date of Initial Discharge:          (Note: This is typically the date when milking began.)

2.  Determination of Maximum Daily Discharge Volume

[Subsection G of 20.6.6.12 NMAC]

a)  Proposed maximum daily discharge volume:        gallons per day.

(Note:  Use this volume to complete Part I.B.1 (Public Notice).

- Describe the methods and calculations used to determine this volume.

- Identify all sources of wastewater (e.g., parlor/equipment washdown, hospital barns, maternity barns, bottle-washing, etc.)

- Describe methods used for washing animals and the estimated daily wastewater volume generated from each method.

b)  Identify other wastewater discharges at the dairy facility not generated by dairy operations (e.g., domestic wastewater to a septic tank-leachfield system); provide permit identification numbers for those that are permitted.  If there are no other wastewater discharges, please indicate “none”.

| Other Discharges | Permit Number |
| --- | --- |

B.  Identification and Physical Description of Dairy Facility

[Subsection H of 20.6.6.12 NMAC]

1.  Scaled Map

Provide a clear and legible scaled map of the entire dairy facility.  The map shall be developed in accordance with Subsection U of 20.6.6.20 NMAC and indicate the location of the following objects:

- overall dairy facility layout (barns, feed storage areas, pens, etc.)

- sumps

- manure solids separators

- impoundments - wastewater, stormwater, and combination

- mix tanks

- each field within the land application area – include acreage of each

- monitoring wells

- irrigation wells

- meters measuring wastewater discharges to and from impoundments

- meters measuring stormwater applied to the land application area

- fixed pumps for discharge and transfer of wastewater or stormwater

- wastewater and stormwater distribution pipelines

- ditch irrigation system, acequia, irrigation canals and drains

- backflow prevention methods or devices

- wastewater sampling locations, except for impoundments used for disposal by evaporation

- septic tanks and leachfields

2.  Impoundments (Wastewater and Stormwater)

Identify and provide the following information for each proposed, existing and closed impoundment.

Note:  Once completing this section, if additional space is needed, use Supplemental Form 2-R.

|  | Attached – Supplemental Form 2-R |
| --- | --- |

| Impoundment ID | Status | Purpose | Liner material and thickness | Date of current liner installation (mm/dd/yyyy) | Original lining material | Date of original impoundment construction (mm/dd/yyyy) | All interim liner material and thickness (if applicable) | Capacity below 2-ft freeboard |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

3.  Fields within the Land Application Area

Identify and provide the following information for each proposed, existing and previously used field within the land application area.

Note:  Once completing this section, if additional space is needed, use Supplemental Form 3-R.

|  | Attached – Supplemental Form 3-R |
| --- | --- |

| Field ID | Status | Acreage | Method of fresh water irrigation | Method of WW/SW* application | Initial date of WW or SW application (mm/dd/yyyy) | Proposed application of WW, SW or both? | Wastewater Application History | Stormwater Application History3 | Irrigation Backflow Prevention Method |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

4.  Proposed and Existing Sumps and Mix Tanks

Identify and provide the following information for each proposed and existing sump and mix tank.

| Component Type | Component ID | Proposed or Existing? | Purpose | Date of Construction (mm/dd/yyyy) | Construction Material | Physical Dimensions | Capacity |
| --- | --- | --- | --- | --- | --- | --- | --- |

5.  Settled Solids Thickness and Free-Liquid Capacity of Existing Impoundments

[Paragraph (5) of Subsection H of 20.6.6.12 NMAC]

Provide a determination of the free-liquid capacity in each impoundment intended to contain wastewater pursuant to Subsection D of 20.6.6.20 NMAC.

|  | Attached –Settled solids measurements, calculations, estimated volume of total settled solids and volume of the actual free-liquid capacity. List each impoundment (provide impoundment ID) for which this information has been provided: |
| --- | --- |
|  | Attached –Photographic documentation of the marks indicating designed sludge depth. List each impoundment (provide impoundment ID) for which this information has been provided: |

6.  Methods of Solids Separation  [Paragraph (6) of Subsection H of 20.6.6.12 NMAC]

Describe each existing and proposed method of manure solids separation.

Existing Methods of Manure Solids Separation

Proposed Methods of Manure Solids Separation

7.  Manure, Silage and Compost Storage  [Paragraph (7) of Subsection H of 20.6.6.12 NMAC]

Describe the method(s) employed and proposed to minimize leachate and protect each manure, silage and compost storage area from stormwater runoff and run-on.

Manure Solids Storage Areas

Silage Storage Areas

Compost Storage Areas

C.  Flow Metering  [Subsection I of 20.6.6.12 NMAC]

Describe the dairy facility’s flow metering system pursuant to Subsections J, K, L, M, N and O of 20.6.6.20 NMAC and Subsections G and H of 20.6.6.21 NMAC.

*Note:  A flow meter(s) shall not be installed on the facility’s water supply line(s) to estimate wastewater volumes discharged to the impoundment if, as of the effective date of the Dairy Rule, -

- the facility has not been constructed or has not discharged.

- the facility uses a flow meter(s) installed on the discharge line(s) to measure wastewater discharged to an impoundment(s).

Note:  Once completing this section, if additional space is needed, use Supplemental Form 4-R.

|  | Attached – Supplemental Form 4-R |
| --- | --- |

| Meter ID | Proposed or Existing? | Location Description | Source of Flow | Measures | Flow Type | Meter Type | Supporting Documents Attached |
| --- | --- | --- | --- | --- | --- | --- | --- |

D.  Ground Water Monitoring

1.  Depth-to-Most-Shallow Ground Water  [Subsection J of 20.6.6.12 NMAC]

a)  Facilities with on-site monitoring wells

Provide the depth-to-most-shallow ground water from the most recent ground water levels obtained from monitoring wells at the facility.  Depth-to-ground water shall be measured to the nearest 0.01 feet using the method described in Paragraph (1) of Subsection F of 20.6.6.23 NMAC.

Depth-to-ground water is:        feet

Note:  Use this depth to complete Part I.B.2 (Public Notice).

b)  Facilities without on-site monitoring wells

If a dairy facility does not have a monitoring well intersecting most-shallow ground water, provide depth-to-most-shallow ground water pursuant to Subsection X of 20.6.6.20 NMAC.  Select all that apply.

|  | Attached – Records from the Office of the State Engineer for all wells on file located within one mile of the boundary of the dairy facility shall be submitted in tabular format and include the following information (pursuant to Paragraph (1) of Subsection X of 20.6.6.20 NMAC): - well identification information - location of each well by latitude/longitude and township, range, and section - use of each well - depth to ground water in each well - total depth of each well Records indicate that depth-to-most-shallow ground water is greater than 100 feet. Note: Use the range of depths from these records to complete Part I.B.2 (Public Notice).. |
| --- | --- |
|  | Attached - The lithologic log and most-shallow ground water information obtained pursuant to Paragraph (2) of Subsection X of 20.6.6.20 NMAC. Depth-to-ground water is: feet Note: Use this depth to complete Part I.B.2 (Public Notice).. There was an absence of ground water within 75 feet of the ground surface. Note: Applicant must still attach the supporting documentation required by Paragraph (2) of Subsection X of 20.6.6.20 NMAC.. |

2.  Ground Water Flow Direction [Subsection J of 20.6.6.12 NMAC]

a)  Facilities with on-site monitoring wells

Provide ground water flow direction beneath the dairy facility on a ground water elevation contour map.  The ground water elevation contour map shall be developed based upon the most recent ground water levels and survey data obtained from on-site monitoring wells pursuant to Subsections F, I and L of 20.6.6.23 NMAC.

|  | Attached – Ground water contour map from on-site monitoring wells |
| --- | --- |

b)  Facilities without on-site monitoring wells

If a dairy facility does not have a monitoring well intersecting most-shallow ground water, provide ground water flow direction based upon either the most recent regional water level data or published hydrogeologic information.  Attach the sources of information used to determine ground water flow direction.  [Subsection J of 20.6.6.12 NMAC]  Select all that apply.

|  | Ground water flow direction of the most-shallow ground water beneath the dairy facility based upon the most recent regional water level data is . -- Reference: (attach relevant portions) Attached - Survey data from nearby monitoring wells and a ground water elevation contour map indicating the direction of ground water flow.. |
| --- | --- |
|  | Ground water flow direction of the most-shallow ground water beneath the dairy facility based upon published hydrogeologic information is . -- Reference: (attach relevant portions) |

3.  Monitoring Well Construction and Identification [Subsection K of 20.6.6.12 NMAC]

a)  For all monitoring wells (proposed and existing)

- Identify monitoring well (MW) locations pursuant to Subsections A and B of 20.6.6.23 NMAC.

| MW ID | Proposed or Existing? | Location Description |
| --- | --- | --- |

b)  For existing monitoring wells

- Submit construction logs for all existing, on-site monitoring wells, which indicate the date of installation and well driller.

  - Note: If a monitoring well was completed from a borehole installed pursuant to Subsection X of 20.6.6.20 NMAC, submit a construction log including well record information specified by 19.27.4 NMAC.

- To use a monitoring well installed prior to the effective date of the Dairy Rule, the applicant may attach documentation verifying construction requirements. The applicant may submit the following information:

  - monitoring well construction log(s)

  - scaled dairy facility map and ground water elevation contour map

  - as appropriate, a copy of NMED’s written approval of an alternate screen length or recent ground water level data

|  | Attached - Construction logs for each existing monitoring well. |
| --- | --- |
|  | Attached – Documentation supporting proposed continued use of MWs installed prior to the effective date of the Dairy Rule. |

c)  For proposed monitoring wells

- Where appropriate, the applicant may request to install a 30-foot section of continuous well screen in a proposed monitoring well(s).  The request shall include documentation demonstrating a declining water level trend of at least two feet per year pursuant to Paragraph (8) of Subsection D of 20.6.6.23 NMAC and include the most recent two years of ground water level data specific to monitoring wells located at the dairy facility, obtained with a water level measuring device as required by Subsection F of 20.6.6.23 NMAC.

|  | Attached - Request for 30-foot section of continuous well screen, with supporting documentation. |
| --- | --- |

E.  Engineering and Surveying

1.  Proposed New Structures or Improvements to Existing Structures

[Paragraph (1) of Subsection O of 20.6.6.12 NMAC]

Attach plans and specifications for any proposed new structures or improvements to existing structures, such as impoundments and manure solids separators.  Include plans and specifications for any associated liners.  Plans and specifications shall be developed pursuant to Section 20.6.6.17 NMAC.

- Proposed plans and specifications attached (Select all that apply)

|  | Attached – for new structure Impoundment. Manure solids separator (note exception below) [Paragraph (4) of Subsection C of 20.6.6.17 NMAC]. |
| --- | --- |
|  | Attached – for improvements to an existing structure Impoundment. Manure solids separator (note exception below) [Paragraph (4) of Subsection C of 20.6.6.17 NMAC]. |
|  | No proposals for new or improved structures |

- Exception:  An applicant proposing to construct a new manure solids separator as a component of an existing wastewater storage or disposal system, may submit a scaled design schematic and supporting documentation, including design calculations developed pursuant to Paragraph (5) of Subsection C of 20.6.6.17 NMAC rather than construction plans and specifications.

|  | Attached - Scaled design schematic, design calculations and supporting documentation for manure solids separator. |
| --- | --- |

2.  Proposed Flow Meters  [Subsection I of 20.6.6.12 NMAC]

If the applicant is proposing to install a flow meter(s), provide a description of the location and installation information (developed pursuant to Paragraph (7) of Subsection C of 20.6.6.17 NMAC) for the proposed flow meter(s).  [Subsection I of 20.6.6.12 NMAC]

Description of flow meter(s) location(s)

|  | Attached – Flow meter installation information |
| --- | --- |

3.  Record Drawings and Final Specifications

[Paragraph (2) of Subsection O 20.6.6.12 NMAC]

Provide record drawings and final specifications for existing impoundments and associated liners.  For existing impoundments, installed prior to the effective date of the Dairy Rule, where record drawings and final specifications do not exist, submit survey data and capacity calculations pursuant to Subsection C of 20.6.6.20 NMAC. Select all that apply.

|  | Attached - Record drawings and final specifications for the following existing impoundment(s): |
| --- | --- |
|  | Attached – Survey data and capacity calculations (no record drawings exist) for the following impoundment(s): |

F.  Land Application Area [Subsection P of 20.6.6.12 NMAC]

Land Application Information

For dairy facilities proposing to apply wastewater or stormwater to a land application area, provide the following information.

|  | Attached - Documentation confirming the existence of infrastructure necessary to distribute and apply wastewater and stormwater to the land application area pursuant to Subsection E of 20.6.6.21 NMAC. |
| --- | --- |
|  | Attached - Nutrient management plan (NMP) pursuant to Subsections I and J of 20.6.6.21 NMAC. |

Part III.  Additional Proposals and Conditions (if applicable)

There may be elements of the applicant’s proposal that are not directly addressed by the dairy rule, yet are not contradictory to the requirements of the rule.  If applicable, in the space provided, identify and describe those elements as they relate to the operational, monitoring, contingency and closure plans of the dairy facility.  Examples may include a proposal to install and operate an advanced wastewater treatment system.  Note:  Pursuant to Subsection H of 20.6.6.10 NMAC, NMED may impose additional conditions on a Discharge Permit in accordance with Section 74-6-5 NMSA 1978.  Written comments about the additional condition and a request for a hearing may be submitted during the 30-day comment period provided by Subsection K of 20.6.2.3108 NMAC (20.6.6.15 NMAC).

Part IV.  Maps and Logs to be Attached

A.  Surface Soil Survey and Vadose Zone Geology

[Subsection L of 20.6.6.12 NMAC]

|  | Attached - Most recent regional soil survey map and associated descriptions identifying surface soil type(s). |
| --- | --- |
|  | Attached - Lithologic logs for all existing on-site monitoring wells (if available). |
|  | Where a dairy facility does not have a monitoring well intersecting most-shallow ground water, and if applicable pursuant to Subsection X of 20.6.6.20 NMAC, attach the following items: Attached - The lithologic log obtained from the on-site test boring installed pursuant to Subsection X of 20.6.6.20 NMAC.. Attached - A written record of borehole abandonment (unless the borehole was completed as a monitoring or production well).. |

B.  Location Map [Subsection M of 20.6.6.12 NMAC]

|  | Attached - Location map with topographic surface contours identifying all of the following features located within a one-mile radius of the dairy facility: - watercourses - lakebeds - sinkholes - playa lakes - springs (springs used to provide water for human consumption shall be so denoted) - wells supplying water for a public water system; - private domestic water wells - irrigation supply wells - ditch irrigation systems - acequias - irrigation canals - drains. |
| --- | --- |

C.  Flood Zone Map [Subsection N of 20.6.6.12 NMAC]

|  | Attached - Most recent 100-year flood zone map developed by the federal emergency management administration (FEMA) documenting flood potential for the dairy facility. |
| --- | --- |
| Describe any engineered measures used for flood protection. |

Source includes – entire production area; individual wastewater impoundments; individual stormwater impoundments; individual land application fields

Source ID means the numbering or labeling system used to individually identify a source (e.g., PWRS-1).

Impoundment ID means the numbering or labeling system used to individually identify an impoundment (e.g., PWRS-1).

Status =    proposed;    existing in use;    existing not in use, but proposed for use;    abandoned without closure, not proposed for use;    or  closed

Purpose = 	Wastewater storage for land application (WW-LA)

Wastewater containment and evaporation (WW-E)

Stormwater collection and transfer (SW-T)

Stormwater collection and land application (SW-LA)

Stormwater containment and evaporation (SW-E)

Combination wastewater and stormwater storage for land application (Combo-LA)

Combination wastewater and stormwater containment and evaporation (Combo-E)

Indicate units in acre-feet (acft) or gallons

Field ID means the numbering or labeling system used to individually identify a field (e.g., Field-1, South Field, LAA-1, etc.).

Status =   proposed;    existing, for use;    or  previously used, but no longer proposed for use

History = never before received; actively receiving; inactive, may use; or abandoned

* WW= wastewater; SW=stormwater

Component ID means the numbering or labeling system used to individually identify each component (e.g., Solids Separator -1, East Mix Tank, Parlor Sump, etc.).

Meter ID means the numbering or labeling system used to individually identify each meter (e.g., Meter-1, Parlor Meter, Land App. Meter-1, etc.).

Source of flow describes where the flow is coming from (e.g., parlor barn; hospital barn; maternity ward; impoundment to LAA; fresh water supply well)

Note:  Only select “stormwater” when it is directly applied to the land application area; stormwater once transferred to a wastewater impoundment is considered wastewater.

Flow type - gravity flow or pressurized (pumped) flow

Meter type - open channel such as a weir or flume, or a closed-pipe velocity meter such as an electromagnetic meter

MW ID (Monitoring Well ID) means the numbering or labeling system used to individually identify a MW (e.g., MW-1, MW-2, etc.).

Example:  60 feet south of the top inside edge of the berm of Wastewater Impoundment-1