## LADS-domestic
Surface Disposal Data Sheet (SDDS) |  |  |  |  | New Mexico Environment Department
Agricultural Waste - Chile Facilities |  |  |  |  | Ground Water Quality Bureau
DATE: |  |  |  |  | MONITORING REPORT DUE DATE:
FACILITY NAME: |  |  |  | REPORTING PERIOD (i.e., from ___ to ___):
DP#: |  | FIELD ID:1 |  |  | # ACRES IN FIELD:
| A | B | C | D | E
MONTH & YEAR OF DISCHARGE2 | MEASURED VOLUME OF WASTEWATER DISCHARGED3 | WASTEWATER QUALITY DATA4 | WASTEWATER DISCHARGED | TOTAL NITROGEN DISCHARGED | NITROGEN LOADING | NOTES5
|  | (TKN + NO3-N) | (A ÷ 1,000,000) | (B x C x 8.34 lb/gal) | (D ÷ # acres)
| gallons | mg/L | million gallons (MG) | lbs N | lbs N/acre
example assuming a 150-acre field: MM - YY | 4,887,750 gal | 4.2 mg/L TKN + 15.1 mg/L NO3-N = 19.3 mg/L | 4,887,750 gal / 1,000,000 = 4.89 MG | 19.3 mg/L x 4.89 MG x 8.34 lb/gal = 787 lbs N | 787 lbs / 150 acres = 5.2 lb N/ac | flood application
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | 0 | 0 | #DIV/0!
|  |  | TOTALS | 0 | #DIV/0!
1One SDDS form should be used for each field.
2Each form must reflect the most recent 12 months of wastewater discharge.
3Direct meter readings in gallons; or acre-ft multiplied by 325,850.
4This information should be obtained from the most recent laboratory analysis. When sampling quarterly, record the same data for the three months of
that monitoring quarter.
5In the event discharge did not occur, please report "no discharge" in the NOTES column.
Last Updated: May 24, 2012